HOW TO TEST EACH ORGANISM USING THE DIFFERENT TESTS LISTED.

- How to test streptococcus epidermidis using;

- Gram +

Materials

1 plate of blood agar, 1 Taxo A ® disc, 1 sterile swab, inoculating loop

Procedure (to be done in groups of 3)

- Using a sterile inoculating loop, streak the unknown for isolation on a blood agar plate so as to get single, isolated colonies.

- Draw an "X" on the bottom of the blood agar plate to indicate where you begin the streaking pattern.

- Using your inoculating loop, stab the agar several times in each of the growth areas in order to detect oxygen-sensitive hemolysins.

- Place a Taxo A ® disc containing bacitracin in the center of the area of the plate that you first streaked (the area wrere you drew the "X") where you expect to see heaviest growth.

- Incubate the blood agar plate upside down and stacked in the petri plate holder on the shelf of the 37°C incubator corresponding to your lab section until the next lab period.

(The gram stain is used to differentiate between gram-positive and gram-negative bacteria.)

- Coccus

Cocci which are Gram-positive, catalase-negative, possess the group D antigen, and are able to grow in 6.5% salt and in the presence of 0.4% sodium azide..

- Cluster

Fourteen ASPE primers are designed to detect the alleles of the selected SNPs. Each of the two ASPE reaction mixtures contains 5 μl of the EXO-SAP-treated PCR products, 0.3 U of tsp DNA polymerase (Invitrogen), 25 nM ASPE primer mixture, 5 μM dATP, dTTP, dGTP, and biotin-dCTP (Invitrogen), 20 mM Tris-HCl, 50 mM KCl, and 1.25 mM MgCl2.

The ASPE thermocycler conditions are 1 cycle of 95°C for 5 min and then 30 cycles of 94°C for 30 s, 55°C for 30 s, and 72°C for 1 min, with a final extension of 72°C for 3 min.

The manufacturer's protocol (Luminex) is followed for hybridization of ASPE products to TAG microspheres and washing, except that the concentrations of microspheres are increased to 125 per μl, followed by incubation in 50 μl 1× Tm hybridization buffer with 0.2% streptavidin R–phycoerythrin conjugate at 37°C for 15 min.

- Cocci in singles, pairs and clusters

Organisms from throat swabs, incubated for only a few hours in broth, can be examined for the presence of S pyogenes using the direct fluorescent antibody or enzyme-linked immunosorbent technique. A streptococcal carbohydrate does not allow exclusion of streptococcal pharyngitis without conventional throat culture (sensitivity of a single throat culture is 90-99%). The Fc portion of group-specific antibody binds to the protein A of dead staphylococci, leaving the Fab portion free to react with specific streptococcal antigen. The attachment of antibody to other carrier particles in suspension (for example, latex) also is used.

- Occasional tetrads

Reagents and Material (Store at room temperature)

- Crystal Violet Stain

- Gram Iodine (Combine Gram Iodine Concentrate to Gram Iodine Diluent)

- Decolorizer Solution

- Methanol

- Slides

- Inoculating loop

- Microscope with Immersion Objective

Procedure

- Spread single loop of culture from the thioglycolate broth to a microscope slide. Spread the culture over 1/3 to ½ to the total area of the slide.

- Allow the smear to air dry. This may take up to 1 hour depending on the temperature and humidity of the room.

- Cover the entire bacterial smear with 3 or 4 drops of methanol to fix the smear and allow to air dry. Again this may take up to an hour.

- Cover the bacterial smear with crystal violet stain and allow to stand 1 minute. Gently was the stain off with cool tap water and drain water from slide.

- Cover the smear with grams iodine and allow to stand 1 minute. Gently wash the iodine off with water and drain the water from the slide.

- Rinse the bacterial smear with decolorizer solution for 10 seconds; decolorization is complete when the solution runs clear from the slide. Gently rinse with water and drain the slide.

- Cover the bacterial smear with safranin stain, and allow to stand for 1 minute, then gently wash the stain from the slide.

- Blot the slide dry with absorbent paper and examine the slide under oil immersion lens.

- Facultative anaerobic

S. epidermidis is a facultative anaerobe but also grows well under aerobic conditions. Culture conditions for S. epidermidis are similar to those of S. aureus, but S. epidermidis grows slowly in medium with 10% NaCl.

- Catalase +

Add 4 to 5 drops of 3% H2O2 to a 12 x 75-mm test tube. Using a wooden applicator stick, collect a small amount of organism from a well isolated 18- to 24-hour colony and place into the test tube. Be careful not to pick up any agar. This is particularly important if the colony isolate was grown on agar containing red blood cells. Carryover of red blood cells into the test may result in a false-positive reaction. Place the tube against a dark background and observe for immediate bubble formation (O2 + water = bubbles) at the end of the wooden applicator stick.

Positive reactions are evident by immediate effervescence (bubble formation). Use a magnifying glass or microscope to observe weak positive reactions. No bubble formation (no catalase enzyme to hydrolyze the hydrogen peroxide) represents a catalase-negative reaction

- Coagulase -

Slide Coagulase Test Procedure

Emulsify a staphylococcal colony in a drop of water on a clean and grease-free glass slide with a minimum of spreading (If the isolate does not form a smooth, milky suspension, do not proceed with the test).

Make similar suspensions of control positive and negative strains to confirm the proper reactivity of the plasma.

Dip a flamed and cooled straight inoculating wire into the undiluted plasma at room temperature, withdraw, and stir the adhering traces of plasma (not a loopful) into the staphylococcal suspension on the slide. Flame the wire and repeat for the control suspensions.

Read as positive a coarse clumping of cocci visible to the naked eye within 10 seconds. Read as negative the absence of clumping or any reaction taking more than 10 seconds to develop, but re-examine any slow reacting strains by the tube coagulase test.

Coagulase Negative: No clot (plasma remains wholly liquid or shows only a flocculent or ropy precipitate). eg. Staphylococcus epidermidis.

- Grape – like clusters

Both staphylococci and streptococci are gram-positive cocci, but they are distinguished by two main criteria:

Microscopically, staphylococci appear in grapelike clusters, whereas streptococci are in chains.

Biochemically, staphylococci produce catalase (i.e., they degrade hydrogen peroxide), whereas streptococci do not.

- Oxidase –

Conditions favoring the oxidation of p-aminoleucomalachite green by a single strain of pneumococci are: the presence of a slight amount of hemoglobin, dextrose, H ion concentration on the add side, and heating of fresh serum for 30 minutes at 56 degrees C. Conditions preventing the oxidation are: sterilized meat infusion, 1 per cent peptone, plain broth, a high concentration of hemoglobin, and absence of oxygen. In a quantitative fashion, meat infusion, 1 per cent peptone, and plain broth interfere with the suitability of serum as a substratum of oxidase production by the pneumococcus

- Not hemolytic

Inoculum;

- Pure culture on solid media.

Reagents and Materials:

Trypticase soy agar plates containing 5% sheep blood are obtained from Becton-Dickinson Microbiology Systems, Cockysville Md.

Procedure;

- Streak culture for isolation on TSA plate with 5% sheep blood.

Incubate plate at 35°C in CO2 for 24 h.

Blood agar is a rich, non-selective medium that supports the growth of most bacteria. However, it is differential based on the ability of the organism to produce enzymes called hemolysins, which lyse red blood cells (RBC). Three patterns of hemolysis can be observed on a blood agar plate.

1. Alpha (a) -hemolysis: incomplete lysis of RBC - Greenish, cloudy zone around the colony.

2. Beta (b)-hemolysis: complete lysis of RBC - A clear zone with a clean edge around the colony.

3. Gamma (g)-hemolysis: no lysis of RBC - No change in the blood agar around the colony.

MSA contains a high concentration of salt (NaCl), and therefore, selects for the growth of microbes that can tolerate high salt concentrations. Staphylococcus species are halotolerant, whereas Streptococcus species and many other organisms are inhibited by high concentrations of NaCl. MSA also differentiates on the basis of mannitol fermentation. Microorganisms that can ferment mannitol create acidic byproducts, which decrease the pH of the medium and cause the pH indicator, phenol red, to turn yellow.

Staphylococcus epidermidis

Growth on MSA, does not ferment mannitol (medium remains red)

g-Hemolysis on BAP

Reading and Interpretation
A beta-hemolytic reaction is interpreted as complete clearing around the colony. An alpha-hemolyic reaction is interpreted as greening around the colony and gamma hemolysis is interpreted as no change in the media surrounding the colony.

The hemolytic reaction on blood agar is complex and subject to many variables. For the complete explanation and interpretation of the reactions the reader is referred to the 1977 publication, CDC Laboratory Update, Isolation and Identification of Streptococci.

- Urease +

Isolate S. epidermidis ET-024 from an endotracheal tube (ET) biofilm of a mechanically ventilated patient while S. Grown this isolates (24 hours, 37°C) on MHA containing 5 μg/ml erythromycin. Store all strains at -80°C using the MicroBank System.

- Nitrate reductase +

The growth Medium consists  of the following: tryptone (difco), 1 g; yeast extract glucose, 0.2 g; KNO3 , 0.3 g; and distilled water, 10 ml. the inoculum is grown for 1 to 2 days at 37 C in a medium similar to the above but containing 0.5 % of beef extract (difco) and lacking nitrate. A 0.1 to 0.2% inoculum level is employed. Anaerobic conditions are obtained by placing votton-plugged Erlenmeyer flasks three-fourths filled with medium in a desicator, evacuating three times, and replacing the atmorsphere with helium after each evacuation. Static conditions for growth are obtained, except where indicated, by placing 200 ml of medium in a 2-litre Erlen-meyer flask or desicators were placed in a 37 C incubator for 24 hrs.

- Sensitive novobiocin

Specimen Collection and Preparation;

Testing should be performed on isolated colonies of aerobic, catalase-positive, coagulase-negative gram positive cocci. All colonies should be taken from a blood agar plate and growth must be less than 24 hours old, 15-18 hours being optimal.

Procedure of Novobiocin test;

- Allow containers to come to room temperature before use.

- Using a pure 18-24 hour culture, prepare a suspension of the organism; equivalent to a McFarland 0.5 opacity standard; to be identified in Tryptic Soy Broth , Sterile Water,  or Brain Heart Infusion (BHI) broth.

- Inoculate Mueller Hinton Agar, 5% Blood Agar, or Tryptic Soy agar plate with a sterile swab to obtain confluent growth.

- Aseptically apply one 5ug novobiocin disk onto the inoculated agar surface and lightly press down to ensure full contact with the medium.

- Incubate plate aerobically for 18 to 24 hours at 35 to 37°C.

- Measure (in millimeters) the diameter of the zone of inhibition around the novobiocin disk, and record as susceptible or resistant.

- How to test for K. rosea using;

- Small, smooth, round, entire, convex

Medium;

ATCC® Medium 2: Marine agar 2216 or marine broth 2216

Growth Conditions;

Temperature: 20.0°C

Atmosphere: Aerobic

Propagation Procedure;

- Open vial according to enclosed instructions.

- Using a single tube of #2 broth (5 to 6 ml), withdraw approximately 0.5 to 1.0 ml with a Pasteur or 1.0 ml pipette and use to rehydrate the entire pellet.

- Aseptically transfer this aliquot back into the broth tube. Inoculate additional tubes of broth and slants.

Plates may also be inoculated to test for purity.

- Incubate broth tube at the recommended temperature for 48 hours.

Cells are Gram positive cocci in groups. On Marine Agar colonies are small, round, smooth, entire, and convex with an orange pigment.

- Gram +

The extract should contain at least a total cell count of white blood cells 8700 cells/cu mm, neutrophils 84%, lymphocytes 12% and eosinophils 4%. The hemoglobin concentration should be at least 9.0 g/dL, and the blood urea and creatinine levels be 161 mg/dL and 8.4 mg/dL, respectively. Random blood sugar should be 170 mg/dL, total protein 5.9 mg/dL, serum albumin 1.8 mg/dL and globulin 4.1 mg/dL; Raise the C-reactive protein level to 10 mg/dL.

Inoculate the peritoneal dialysis fluid (7 mL) into a BacT-alert FA bottle for growth within 12 hrs. (BacT-alert 240; bioMérieux, France).

Direct microscopy of the sample will show gram-positive cocci in pairs and clusters.

- Cocci

Prepare suspensions by emulsifying bacterial isolates in 0.45% saline to the equivalent of a 0.5 McFarland turbidity standard. The same suspension is used for identification and AST for the VITEK 2 system. Suspensions for the comparative identification method are made according to the manufacturer's recommendations.

- Oxidase +

Process the mat sample (200 mg), plate it onto Antarctic bacterial medium (ABM) plates containing 0.5% (w/v) peptone, 0.2% (w/v) yeast extract and 1.5% (w/v) agar (pH 6.9) and incubated at 5°C for 15 days. The colonies that appear are predominantly white in color, except those of strains CMS 76orT and CMS 90rT, which were orange (‘or’ suffix) and red (‘r’ suffix), respectively.

The shape and motility of cultures from the lag, exponential and stationary phases of growth are observed by phase contrast microscopy (magnification, 61000). Motility is determined by the hanging drop method, and staining of the flagellum is done by the silver impregnation method (Blenden & Goldberg, 1965).

Perform the tests by growing strains at 20°C in the appropriate medium according to standard methods (Holding & Collee,1971). The production of indole, the methyl red test, the Voges–Proskauer test, levan formation, reduction of nitrate to nitrite, hydrolysis of starch and aesculin, and the formation of acid and gas are also monitored according to standard methods.

- 25 -37 C

Examination by direct microscopy, samples are (Calcofluor white, Gram, Giemsa stains) and cultured on appropriate bacterial (aerobic and anaerobic) and fungal media. All media is incubated at 37 °C for 1 week except SDA which is incubated at 25 °C. Only significant culture results are considered. Growth on two or more media or confluent growth on at least one solid medium at the site of inoculation or growth on one medium with consistent direct microscopy result will be defined as a significant positive culture. The culture isolates are further identified by biochemical tests and Vitek 2 (Biomerieux, France). The organisms are identified using the Vitek 2 ID GPC gram-positive identification card which uses a fluorogenic methodology for organism identification.

- Catalase +

Enzyme Tests Text:	Catalase +,Coagulase : -,Cytochrome C oxidase : -,Gelatinase : -

Aerobic Growth Tests Text:	Citrate: -

Reduction Text:	Nitric acid reduction: +

Temperature for Growth Text:	at 37°C: Yes

Colony Appearance Text:	smooth: Yes, shiny: Yes

Colony Color Text:	pink: Yes

Colony Text:	circular: Yes, convex : Yes, entire : Yes

Cells Length (Âµm):	1|1|1|1

Gram Reaction Text:	positive

Acid Fast Staining Text:	negative

Motility At 25Â°C Text:	negative

Staining:	easy & even

OXR:	AE

Cells type:	c m fil mono

- Strict aerobe

The bacteria have a rigid cell wall and are aerobic/facultatively anaerobic and grow better at neutral pH. Many species of Actinobacteria are saprophytic and are present in the environment growing under varied conditions as acidophiles, alkaliphiles, halophiles, and thermophiles.

- How to test for Shigella flexneri using;

- Gram –

Shigella species are small Gram negative rods, 0.3 - 1 μm in diameter and 1 - 6 μm in length, appearing singly, in pairs and in chains. The test is based on the detection of S. dysenteriae 1 lipopolysaccharide (LPS) using serotype 1-specific monoclonal antibodies coupled to gold particles and displayed on a one-step immunochromatographic dipstick. A concentration as low as 15 ng/ml of LPS is detected in distilled water and in reconstituted stools in 10 minutes. In distilled water and in reconstituted stools, an unequivocal positive reaction is obtained with 1.6×106 CFU/ml and 4.9×106 CFU/ml of S. dysenteriae 1, respectively.

- No capsule

For culture:

Tryptic Soy Agar (TSA).

For selective isolation:

MacConkey Agar, Eosin Methylene Blue (EMB) Agar, Salmonella Shigella (SS) Agar, Deoxycholate Agar, and GN (Hajna) Broth.

For maintenance:

Egg Medium for short-term maintenance and lyophilization or liquid nitrogen for long-term storage.

INCUBATION

Temperature:	35 degrees C.

Time:	18-24 hours.

Atmosphere:	Aerobic.

- Cocci

Shigella species are facultative anaerobes and are non-spore formers. Shigellae are differentiated into four subgroups on the basis of their O (somatic) antigens and further differentiated into serotypes;

- S. dysenteriae (Group A) contains 15 distinct antigenic serotypes.

- S. flexneri (Group B) contains 6 serotypes (1-6) that can be further divided into sub-serotypes based on their possession of group factors designated 3,4; 4; 6; 7; and 7,8

- S. boydii (Group C) contains 20 distinct antigenic serotypes.

- S. sonnei (Group D) contains only 1 serotype that may occur in two forms, form I (smooth) and form II (rough).

On XLD agar, Shigella species produce 1-2 mm diameter pink red colonies with no black centre. Some strains may have a pink or yellow periphery on XLD agar. Colonies on DCA agar are colourless (S. sonnei may form pale pink colonies because of late lactose fermentation). They are non- lactose fermenters (however S. sonnei can ferment lactose after prolonged incubation) and do not produce gas from carbohydrates. They all ferment glucose. They also tend to be overall biochemically inert. They are negative for urease, oxidase, do not decarboxylate lysine and give variable results for indole (with the exception of S. sonnei that is always indole negative) and positive for catalase with the exception of S. dysenteriae Type 1,2, and 3.

- Non motile

Unlike Salmonella, Shigella species do not possess flagella and hence are non-motile. Fecal specimens should be plated as soon as possible after arrival in the laboratory. Selective media may be inoculated with a single drop of liquid stool or fecal suspension. Alternatively, a rectal swab or a fecal swab may be used. If a swab is used to inoculate selective media, an area approximately 2.5 cm (1 inch) in diameter is seeded on the agar plates, after which the plates are streaked for isolation. Media of high selectivity such as XLD require more overlapping when streaking than media of low selectivity. When inoculating specimens to a plate for isolation, it is important to use the entire plate to increase the chances of obtaining well-isolated colonies. Incubate the plates for 18 to 24 hours at 35° to 37°C.

- No capsule

After incubation, record the amount and type of growth (e.g., lactose-fermenting or lactose-non-fermenting) on each isolation medium for each patient specimen .Colonies of Shigella on MAC appear as convex, colorless colonies about 2 to 3 mm in diameter.

References

Altuntas, F., Yildiz, O., Eser, B., Gu¨ ndogan, K., Sumerkan, B. & Cetin, M. (2004). Catheter-related bacteremia due to Kocuria rosea in a patient undergoing peripheral blood stem cell transplantation. BMC Infect Dis 4,62.

Ben-Ami, R., Navon-Venezia, S., Schwartz, D. & Carmeli, Y. (2003). Infection of a ventriculoatrial shunt with phenotypically variable Staphylococcus epidermidis masquerading as polymicrobial bacteremia due to various coagulase-negative staphylococci and Kocuria varians. J Clin Microbiol 41, 2444–2447.

Bloemendaal AL, Brouwer EC, Fluit AC. Methicillin resistance transfer from Staphylocccus epidermidis to methicillin-susceptible Staphylococcus aureus in a patient during antibiotic therapy. PloS one. 2010;5(7):e11841 10.1371/journal.pone.0011841 [PMC free article] [PubMed] [CrossRef] [Google Scholar]

Bopp CA, Brenner FW, Wells JG, Strockbine NA. Escherichia, Shigella, and Salmonella. In: Murray PR, Pfaller MA, Tenover FC, Baron EJ, Yolken RH, ed. Manual of Clinical Microbiology, 7th ed. Washington, DC: ASM Press; 1999: 459-474.

Centers for Disease Control and Prevention. Laboratory methods for the diagnosis of Vibrio cholerae. Atlanta: CDC; 1994. 106

https://www.ncbi.nlm.nih.gov/pubmed/19868791

Murray, P.R., Baron, E. J., Jorgensen, J.J., Pfaller, M.A., and Yolken, R.H. Manual of Clinical Microbiology, 8th ed. ASM Press: Washington, DC, 2003.

Otto M. Molecular basis of Staphylococcus epidermidis infections. Seminars in immunopathology. 2012;34(2):201–14. 10.1007/s00281-011-0296-2 [PMC free article] [PubMed] [CrossRef] [Google Scholar]

Otto M. Staphylococcus epidermidis—the 'accidental' pathogen. Nat Rev Microbiol. 2009;7(8):555–67. 10.1038/nrmicro2182 [PMC free article] [PubMed] [CrossRef] [Google Scholar]

South Bend Medical Foundation. 2010. Catalase test protocol. South Bend Medical Foundation, South Bend, IN. 11. Taylor, W. I., and D. Achanzar. 1972. Catalase test as an aid to the identification of Enterobacteriaceae. J. Appl. Microbiol. 24:58–61. 12. Thomas, M. 1963. A blue peroxide slide catalase test. Mon. Bull. Min. Health 22:124–125.

World Health Organization. Manual for the laboratory investigations of acute enteric infections. Geneva: World Health Organization, 1987; publication no. WHO/CDD/83.3 rev 1.

Ziebuhr W, Hennig S, Eckart M, Kranzler H, Batzilla C, Kozitskaya S. Nosocomial infections by Staphylococcus epidermidis: how a commensal bacterium turns into a pathogen. International journal of antimicrobial agents. 2006;28 Suppl 1:S14–20. [PubMed] [Google Scholar]