Building Drawings

Student’s Name

Department, University

Course Code: Course Name

Professors Name

Date

Building Drawings

It is imperative to commence the construction project by making a construction plan. Starting with a plan sets the required benchmark for the construction process. The programs provide a detailed overview of the proposed building. The details provided in the drawings are technical and presented in a readable format. The illustrations are also mandatory to acquire necessary approvals to commence projects since they establish compliance by the design team to building standards. The design team that comes up with construction drawings comprises architect, structural engineer, electrical and plumbing engineers, and HVAC consultants. The team communicates its details, specifications, concepts, and ideas through the drawing, enabling the contractor to execute the same on-site. There are various types of building drawings.

# Architectural drawings

- Working drawing plans – used to help the contractor comprehend the scope of the project. The plans' details define the locations for interior floor elements, windows, doors, and showcases the floor plans.

- Elevations – provide an exterior view of the proposed building from either of its sides. The details define the exact look from the outside of the building after completion and dictate the exterior finishes.

- Sections – the drawing results from slicing down a building to depict the cross-section of parts of the building. The elements are visible vertically, with illustrations detailing the finishes.

- Setting Out Plans – provide specific about measurements of elements from an aerial view of the project. They are sometimes used as floor plans to detail the in-depth version of the layout of rooms and spaces.

# Structural drawings

The structural engineer develops the structural drawings from samples provided by the architect. The engineer then specifies the specifications for all structural elements in line with calculations that ensure the building has adequate strength. It is prudent to include the drawings in the project proposal. The structural picture details include foundation plan, stair case designs, bar bending schedule, composition, framing plans, block plans, beam layouts, and column plans.

# Electrical drawings

The drawings specify the location of all electrical appliances. The detail in the plans includes connections, outlets, fixtures, switches, lighting, and fans. The illustrations also serve as guidelines for electricians by defining internal wiring for specified rooms and spaces in the building. Additional information to include in the electrical drawings has heating systems, air conditioning, and load capacity.

# Plumbing Drawings

They show the markings and location of plumbing components. The elements defined in the plans include sanitary pipes, water drainage pipes, water supply pipes, and the position of taps and water outlets within the building.