Electricity

General observations

- Association w/economic growth and quality of life (consumer electronics); symbolic value

- Rising importance of electricity/Historical demand growth

- From 1901 through 1970 robust increases in demand, doubles between 1960 and 1970

- New Deal: TVA, REA, Bonneville Power Administration

- Post WWII demand for power

- By the mid-'60s utilities were accustomed to steadily rising demand.

- Presumption of inelastic demand

- Thermodynamic efficiency: loss of primary energy in standard methods of thermal power plant production

- Long-term power demand has grown steadily since the 1980s, but investments in transmission have lagged

- Federalism: Many policies are decided at the state level: retail electricity prices, mix of fuels utilities should use to generate power.

Basics of electrical system

- Stages: Production, Transmission, Distribution

- Production/generations

  - Producers: Investor owned utilities (IOUs), publicly owned utilities, federally owned (e.g. TVA. Bonneville Power Authority, Independent power producers (IPP) (includes cogeneration)

  - 1 GWe enough power for a city of  1,000,000 people

  - Coal 33%, natural gas 33%, nuclear 20%, hydro 6 %, wind 5%, Biomass 2%, Oil .7%. Solar .7%, other .7%  (May 2016)

- Economics

- Economies of scale

- Fixed costs – incurred w/out regard to how much power is produced

- Variable costs – fuel costs, fuel to energy conversion factors

- Ramping costs – start up time and shutting down

- Least cost dispatching, plants with the lowest variable costs over time of use.

- Environmental costs

- Reliability and load

- To ensure the stability of the entire power grid, electricity must be produced at the same time it is used as large quantities of electrical power cannot be stored effectively.

- Base load

- Peak load/reserve margins/excess capacity

- Transmission

- Capital costs and natural monopoly

- From high voltage transmission lines to usable lower voltage electricity

- Large scale initial capital investment, low marginal costs to add new customers

- Transmission losses  friction and heat, as high as 10%, heat capacity of lines

- Loop flow problem  flow across all available lines, demand and congestion, interconnected users

- Need for co-ordination  load management, load balancing, synchronized command and control operations

- Grids and control areas  North American Electric Reliability Council (NERC); RTOs (e.g. PJM): sets voluntary standards for maintaining reliable service

- Developed in response to historic blackouts (1965 – 8 Northeast states and Ontario; 1977 25-hour blackout in New York City; 2003 - 50 million people in the Northeast, Midwest and Ontario, Canada caused an estimated $10 billion in business disruptions)

- Need for capital investment and expansion

- Distribution

Traditional Regulation

- Publically regulated monopolies

- Market entry: service area

- Price: rate regulation

- Reliability

- Rate of return

- Rate base x Rate of return

- Used and useful

- Reserve capacity/excess capacity