## Slide 1: FIRE EXTINGUISHER/FIRE PREVENTION
Team Members:
Facility Contact :

## Slide 2: OSHA Regulations and Standards
Scope and application= OSHA 1910.157 (a)
Exemption= OSHA 1910.157 (b)
General requirements= OSHA 1910.157 (c)
Selection and distribution= OSHA 1910.157 (d)
Inspection, maintenance and testing= OSHA 1910.157 (e)
Hydrostatic testing= OSHA 1910.157 (f)
Training and education= OSHA 1910.157 (g) ( USDL, 2013).

## Slide 3: NFPA codes and Standards
NFPA 1-Fire code
NFPA 3- Fire protection and life safety commissioning standard
NFPA 4- standard for integration of fire protection and testing of life safety systems
NFPA10- standard for portable fire extinguishers
NFPA 11- standard for low, medium and high expansion foam
NFPA 12- standard for carbon dioxide extinguishing equipment's
NFPA 13-standard for installation of sprinkler systems
NFPA 14-Standard for installing standpipes and hosing systems
(NFPA, 2018).

## Slide 4: Fire Extinguishers Classifications
Specific types of fire are handled using designed specific fire extinguishers.
Six classes of fire extinguishers:
Class A
Class B
Class C
Class D
Class E
Class F
There are also several different types of fire extinguishers
(MFS 2018).

## Slide 5: Fire Extinguishes Testing
Ready to use fire extinguishers are means of ensuring fire safety
Testing fire extinguishers is important because they act as the first line defenses against fire.
Testing and inspecting fire extinguishers is a requisite mandate that ensures that they are available for use and operate properly
Ways of checking fire extinguishers:
Visual inspection
Maintenance inspection
Internal maintenance inspection
(FIREPROTEC, 2017).

## Slide 6: Indiana State University (ISU) fire department
The department is under the Office of Environment and Safety
The department is guide by the Higher Education Act of 2008.
The department annually publish a report complying with the campus security policy.
The department conducts fire safety and training education in the university
The department is in charge of monitoring evacuation drills in the university.
It also orients new students and employees on fire issues and safety
The department provides the students with fire safety tips and fire drills at the start of every semester.
The department’s specialists conduct inspections on buildings and report any gaps and deficiencies to the responsible personals
(ISU, 2017).

## Slide 7: sprinkler system
It is an active method of fire protection
Available for use in factories, commercial buildings, homes and small buildings
Insurance companies may recommend their use and may be installed by building codes.
Statistics show their global extensive and effective use
Sprinkler systems are of four type, namely:
Pre-action systems
Dry-pipe systems
Wet-pipe systems
Deluge system
Their operation is controlled automatically by a heat-sensitive glass bub ( FSAC, 2013).

## Slide 8: Alarm system
Fire alarm systems are composed of several devices that work together.
They are activated automatically by either smoke or heat detectors.
Smoke detector refers to a device that has the ability to sense smoke
Home smoke detectors are referred to as smoke alarms
Smoke detectors detects smoke either optically or physically
Working Smoke alarms reduce fire deaths at home
Heat detectors refer to devices that use a heat sensitive element to trigger the fire alarm when fire heat increases.
Their operations are classified into fixed temperature and rate of rise
Heat detectors help prevent property damage
(Chenebert, Breckon, and Gaszczak, 2011)

## Slide 9: Instruction and tips for using a fire extinguisher
Apply the right extinguisher for the right type of fire depending on the fire source
Identify the location of the fire extinguisher
Ensure you have an up to date fire extinguisher
Make sure you know how it is used
Know when to use it
In case of an fire emergency:
Call the fire department
Get hold of the extinguisher and stand at the exit with your back facing the exit
Position yourself to a proper distance
(FEMA, 2011).

## Slide 10: References
Fire Safety Advice Centre (FSAC), (2013). Industrial fire Sprinklers..
Chenebert, A.; Breckon, T.P.; Gaszczak, A. (2011). A Non-temporal Texture Driven Approach to Real-time Fire Detection.
United States Department of Labor (USDL), (N.D). Occupation Safety and Health Administration.
FEMA, (2011). Putting Out Fire. Facilitators guide. Retrieved from:https://emilms.fema.gov/is909/assets/09_puttingoutfires.pdf
Indian State University (ISU), (2017). Annual Security and Fire Safety Report. Retrieved from: http://www2.indstate.edu/pubsafety/pdf/2017-%20Annual%20Security%20&%20Fire%20Safety%20Report.pdf
FIREPROTEC, (2017). How Often Should Fire Extinguishers Be Inspected? Retrieved from:https://resources.fireprotec.com/how-often-should-fire-extinguishers-be-inspected
National Fire and Protection Association (NFPA), (2018). Codes and Standards.
Fire Safety Management (FSM), (2018). Strategy for Fire Safety Management.