Design layout for a heat exchanger

Name

Institution Affiliation

Author’s Note

Class

Professor

Date

Executive summary

The research is all about designing of heat exchanger which is cheap and can perform effectively. Aluminium is the best material for this process. It has its suitable features which make it the best material. This features include; it is a good conductor of heat and electricity, it is light, it does not produce sparks, it is cheap and therefore readily available and it can be molded in to different shapes. Several features which are common in heat exchanger may include; tubes, shell, tube bundles, long tubes and fine tubes which are fixed together to effect the heat exchanger operation. Its fabrication requires LIGA process, conventional alignment and bonding process. The processes of 3D printing may include the following; Digital light processing, electron beam melting and also selective laser sintering.

Introduction

The paper herein addresses the following; the suitable materials that can be used to produce a heat exchanger that will produce a maximum outcome, it also addresses the characteristics or features of the material that is suitable to use when making the produce the heat exchanger, it addresses the physical design of the heat exchanger and the characteristics of the features. The features play a big role in identifying a suitable material that can be used in its production. The paper also explains about the fabrication and the inspection methods that can be used in the manufacturing process of the heat exchanger and also the 3D printing processes that may be used.

Material to be used

The most suitable material to use when designing heat exchanger is Aluminium. This material has suitable features which makes it the most suitable material as compared to the other materials. The following characteristics of Aluminium make it the most suitable material in this process; it is light and therefore it can be handled effectively without using a lot of energy. It is the most thermal effective material. Aluminium does not loose heat easily and this means it is a good conductor of heat (Than, Lin & Mon, 2018). It has ability to hold heat for long time as compared to other materials. Aluminium is one of the cheapest materials and therefore it can be readily available. Through this the budget of designing the project becomes low.

Pure Aluminium is considered as one of the most thermally conductive material and almost the most cost-effective material. It is also the best material when considering heat diffusion. Its character of light in weight, makes flexible to be molded into different shapes. Aluminium is far more malleable as compared to the other materials and this character makes it suitable to be used to design a plate-fin exchanger for gas furnace (Than, Lin & Mon, 2018). Aluminium is also a corrosion resistance and this means it is not easily affected by rust. It is easily extracted and does not require a lot of process during its production process. Aluminium can be recycled and this means it can be redeposited and be used again even after exhaustion.

Features in the physical design

The heat exchanger is made up of a shell. This is the container for the shell fluid. It is in the shell where the tube bundle is placed. For the shell to fit well in the heat exchanger, it should be designed in a way that its diameter gives a perfect fit to the tube bundles. The shell is usually fabricated from the standard steel pipe which does not allow corrosion. This is enabled in order to prevent the heat exchanger from rusting.  The heat exchanger is also equipped with tubes of different sizes. The tubes are fixed in the shell. However, the consideration is that, the tubes are as many as possible so as to allow maximum turbulence. The tube thickness should be enough to withstand the internal pressure from the heat exchanger alongside with the adequate corrosion allowance (Than, Lin & Mon, 2018). Stainless materials like Aluminium are mostly common used to make this tubes. Long tubes are used to reduce the shell diameter at the expense of the higher pressure shell drop.  Fined tubes are used when the fluid with low heat transfer coefficient flows in the shell side.

There is use of tube pitch which is the shortest center to center distance between the adjacent tubes. The tube count is also important as it gives the exact number of tubes that can be accommodated in a shell. There is use of tube passes which is chosen to get the required tube side fluid velocity to obtain greater heat transfer co-efficient and also to reduce scale formation.  There is tube sheet which is fixed with the tubes that forms the barrier between the tubes and the shell fluids.  The tubes are fixed with the tube sheets using metal packing ring which is a good conductor of heat (Than, Lin & Mon, 2018). The tube sheet thickness should be greater than the tube outside diameter to make a good seal. Baffles are also used to increase the fluid velocity by diverting the flow across the tube bundle to obtain higher transfer co-efficient. The baffle spacing should be well considered so as to allow proper heating. Close spacing of the baffles gives greater heat coefficient by inducing higher turbulence.

Fabrication and inspection

Heat exchanger can be fabricated using combination of processes which include; the LIGA process, the conventional machining, alignment and bonding. The two halves of the heat exchanger are produced by the LIGA process. This is the most suitable method of producing heat exchanger. Conventional process is necessarily used to open the air channels. The alignment and the bonding processes are then used to complete the fabrication of the heat exchanger. The LIGA process begins with the fabrication of an x-ray mask that contain the absorber structures on the substrate transparent to the x-ray. The mask is used to absorb the stray x-rays. This process of heat exchanger fabrication involves the alternating tones for the heat exchanger pattern (Than, Lin & Mon, 2018). Here, the complete optical mask consists of a chrome absorber pattern to block the ultra violet light which occurs in the form of x-ray.

The following procedure explains a good fabrication process of the heat exchanger; the Titanium substrate is first cleaned using soap and acid etch, oxidation of the titanium substrate using an aqueous solution of sodium hydroxide and hydrogen peroxide in order to create a thin layer that enhances the bond between the layers, preparation of a methyl based solution which is used for bonding, the bonding solution can be used to oxidize titanium substrate (Than, Lin & Mon, 2018). The full prepared heat exchanger can then be inspected to confirm if it can fully transfer heat and whether the used materials are capable to sustain its operation before it is taken to the market. The benefits of using the LIGA method in production of heat exchanger include; this method is one of the cheapest as it requires low electricity, it is not more of manual labor, the high aspect ratios are made possible and therefore the larger heights of the pieces, it has sharp vertical sidewalls which will hold the materials fully and it has the possibility of producing three-dimensional structures.

3D print and inspection methods

Several 3D methods can be used in printing. They include the following; Stereolithography which is the original 3D printing process. This method of printing is considered the best because they produce parts with high levels of details, smooth surfaces finishes and tight tolerances. Selective Laser Sintering can also be used as it does not require support structures and so the whole build platform can be utilized to the nest multiple parts. Digital Light Processing can be used in 3D printing as it uses a digital light protector screen. It can image the whole layer of the building all at once resulting in a faster building speed. Its frequency is used for rapid prototyping which makes it suitable for low volume production. Electronic Beam Melting is also a 3D printing technology that uses an electron beam that’s controlled by electromagnetic coils to melt the metal powder. During the building, the printing bed is heated up and in the vacuum conditions (Buswell et al., 2020). The temperature of the machines can be regulated depending on the material which is being heated.

Properties of the material used

The material is; it is light in weight and therefore it is easily transported, it is corrosion resistance hence low chances of rusting, it is the excellent heat and electricity conductor, it is a good reflector of visible light as well as heat and that makes it an ideal material for making reflectors, it is ductile and has low melting point and density and this means it can be processed in several ways in a molten conditions, it is still strong at low temperatures as it increases the tensile strength as the temperature drops, it is nonmagnetic material making it suitable for electrical shielding as used in computer discs and in magnetic housing, it is nontoxic and can be used to make woks and many cooking utensils without fear, it is easily cleaned and does not contain the food at any stage, it is 100% recyclable and the recycled Aluminium is used to make new products and it does not produce any sparks when it comes in to contact itself or nonferrous metal (Buswell et al., 2020).

Analysis

The used data is well calculated and researched while coming up with this experiment. However, there are few sources of errors that can be identified in the process which include; the length and the size of the diameter of the tubes may vary and hence an error may occur when fixing them. Fake materials may also be used in the process. The materials used may be from other metals like copper which may not make a permanent heat exchanger. The limitation of the data collection may occur in ways such as when interviewing people in the industries who deal with the same product. They may decide to give the wrong or inappropriate information. The analysis methods here are; the qualitative analysis, quantitative analysis which deals with the number of production per day and the statistical analysis which uses the statistics of the data already stored.

Conclusion and recommendations

Heat exchanger id a very useful material which can be used for domestic and industrial activities. For it to perform well, its features should be elaborated well and the best materials which shows the best features for the process should be considered. It is an industrial process which requires a lot of precautions as it may have negative impacts to the environment like pollution, exhaustion of the materials and also the waste dumped to the environment. With following all these steps properly, the manufacturing process will be successful with a proper working machine. The recommendations from such machine is that; all the parts of the heat exchanger should be well fitted to ensure that there are no linkages which may cause accidents like fire outbreak and loss of heat through other forms.

References

Buswell, R., Kinnell, P., Xu, J., Hack, N., Kloft, H., Maboudi, M., ... & Bos, F. (2020, July). Inspection methods for 3D concrete printing. In RILEM International Conference on Concrete and Digital Fabrication (pp. 790-803). Springer, Cham.

Than, S. T. M., Lin, K. A., & Mon, M. S. (2018). Heat exchanger design. world academy of science, engineering and technology, 46, 604-611.

Appendices

Appendix 1: LIGA process

Appendix 2: StereoLithography

NB: Hello my friend. Remember to delete this part before you submit your work.

Please take a look at this work and see if it meets your expectations. If so, I request you to kindly remember to release the funds on time and leave a 10-star rating if you do not mind.  I will really appreciate it. Also, you can find me on this mail (davykikuvi774@gmail.com) for more work in future if you will need my services. Feel free and let me know. I will always be at your service whenever I can. Again, thank you for working with me.