Part II:  Air quality monitoring table

10 points each

| Air Quality Sampling Device | Operating principle |
| --- | --- |
| Example: Denuder | Pulls air through a hollow tube coated with a sorbent to measure gas and particulate phase pollutants together |
| Bubbler | The form of gaseous species that undergoes hydration to form an anion. More often used when fewer samples are required. |
| Summa canister | Collects air, in its gaseous state, in a pre-evacuated flask, to transport to an analytical laboratory. |
| The continuous emission monitoring system | The immediate surrounding of air is taken from the monitor by sampling various chambers or holes. As such, the monitor would end up collecting or extracting a small amount of the air from the manifold to analyze by an automated technique. |
| Passive sampling system | A system that does not involve active air movement. Measures exposure levels in general communities. The system generally used for gases and vapors since particles are assumed not to diffuse |