Phase II Site Assessment

Institution Affiliation

Students’ Name

Date of Submission

Phase II Site Assessment

Sampling and Analysis Plan

The number and nature of samples considered for in an environmental site assessment largely depend on the study kind of business site and the type of contaminants under review (Lee 2005). This assessment covers an abandoned gas station. This analysis compounds utilized revolve around gasoline-related compounds such as Diesel range organics (DRO), Total petroleum hydrocarbons (TPH), and Volatile organic compounds (VCOs).

The bottom of the UST is at six feet below the surface. Four soil samples should be collected around the UST with a sample from each direction; north, south, east, and west. This will help establish the lateral extent of infiltration. All the four samples should be collected at 6-8 feet below the Grade. The objective is to create the horizontal spread of Diesel range organics and Total Petroleum Hydrocarbons.  TPH-DRO analyses are proposed to be used to identify soil contamination around the UST.

Fifth multilevel monitoring well should be placed 8-14 feet below the grade to help establish the extent of vertical infiltration by TPH-DRO. Many monitoring wells are not needed since the multilevel feature serves the purpose. Diesel range organics quickly infiltrates through the ground, and that high depth is required.

A soil sample from the factory machine is proposed.  The underground water flow has been established to be across Knights road. The monitoring well wells at the machine shop site indicate that the relative groundwater level is 6.5 feet. The flow of the underground water could, therefore, might have contaminated the soil adjacent to the ground level water. Gasoline contains LNAPL (light-non aqueous phase liquid, which penetrates the ground and stops at the water table height.

A sample of groundwater around Knights road should be obtained. The underground water has been found to flow across it. The water could be contaminated as a result of this flow. This sample will be essential in evaluating the need for triangular monitoring wells at different locations of the road. The triangular wells could be needed if to establish the direction of the groundwater flow crossing the road. If the samples test positive for DRO, then the appropriate number and depth of wells will be determined.

The former industrial site is adjacent to Knights road. With the information that the underground water level is 6.5 feet, a groundwater sample analysis at the site is in order. The results will justify or nullify the need for drill wells to determine the extent of the clean line in the groundwater. A sample of water from the monitoring well is taken for analysis since it is closest to the contamination site.

Gasoline contains volatile organic compounds (VOCs). These compounds are found in liquid or vapor form (Salem et al., 2005).  Though these compounds do not contain instantly harmful products, continued to inhale could result in long term health effects. The suspicious odor emanating from the pipes need to be analyzed for traces of VOCs. Air sample from outside the old building is also proposed to ensure beyond a reasonable doubt that air in the area is not contaminated.

References

Lee, C.C. (2005). Environmental Engineering Dictionary. Retrieved June 22, 2016, from https://books.google.com/books?id=s3Bb7Ru4a58C

Salem, H., and Katz, S.A. (2005). Inhalation toxicology. CRC Press. Florida. Retrieved June 22, 2016, from https://books.google.com/books?isbn=1420037307