### Question 1

Match each item to the appropriate answer.

| Pressure. Standard atmospheric pressure. What is the pressure at 15 ft under water?. 10 ft3/s. What is the flow rate of water in a pipe flowing full with an area of 0.3 m2 and velocity of 2.5 m/s?. What is a pipe’s inside cross-sectional area, if the inside diameter is 11.9 inches?. Referring to Figure 2-12 on page 31 in the textbook, if QA=3 ft3/s and QC=1.7 ft3/s, what is QB?. If a 400-mm diameter pipe with a pipe roughness coefficient of 100 flows full of pressurized water with a head loss of 0.4 ft per 1,000 ft of pipeline, what is the flow rate? Use the Hazen-Williams method.. If a 1-m diameter sewer pipe is flowing at a depth of 0.4 m and has a flow rate of 0.15 m3/s, what will be the flow rate when the pipe flows full?. What is the flow rate through a V-notch weir having a head of 0.42 ft?. | A.; 4488 gal/min. B.; 0.037 m3/s (37 liter/s). C.; 6.45 psi. D.; 0.44 m3/s. E.; Force divided by area. F.; 1.3 ft3/s. G.; 0.77 ft2. H.; 14.7 psi. I.; 0.75 m3/s. J.; Flow rate times slope. K.; 0.29 ft3/s. |
| --- | --- |

### Question 2

- Identify and discuss the features of a water distribution system. 

Your response should be at least 200 words in length.

### Question 3

- For a sanitary sewer collection system, identify the purpose of a suitable pipe material, proper pipe velocity, lift stations, proper pipe bedding, and minimal infiltration and inflow. 

Your response should be at least 200 words in length.