Student’s Name:

Professor’s Name:

Title:

Date:

Importance of DO

Dissolved oxygen is important in supporting aquatic life since they need sufficient oxygen for sustenance of metabolic processes. These include respiration and oxidation of the aquatic life. Also, it affects the solubility of certain nutrients which be become absorbent in water at certain oxygen concentrations.

Importance of 5- day BOD

Biochemical Oxygen Demand determines the proportion of dissolved oxygen available for aerobic microorganisms in the decomposition of organic matter. Additionally, t shows the effects of the levels of discharged waste water have on the surrounding aquatic environment. Higher levels of BOD result into increased food for aerobic bacteria. The BOD should be sufficient enough to ensure survival of aquatic plants, for instance, algae photosynthesis. Depletion of DO creates hypoxia and anoxic environmental conditions. It majorly used in water treatment plants due the massive decomposition of waste materials by the aerobic bacteria.

BOD Mechanism to regulate Water Discharge Permits

BOD degrades water pollutants in the discharge permits thereby varying the levels of DO in the water. Therefore, the sewage discharged into the sewer lines is suitable for pretreatment- the treated water avoids eutrophication in the domestic and industrial pipes. Also, BOD techniques limit the concentration of nutrients that lead to algae bloom. Massive algae bloom depletes the levels of oxygen in the water depriving aquatic life adequate oxygen.

Effects of High BOD on receiving Waters

Greater concentration of BOD decreases the oxygen within the stream rapidly. The availability of oxygen is as a result reduced for high forms of living organisms in the receiving waters. Consequently, due to low DO, they suffocate, stress, and die. Also, relatively higher levels of BOD promote bacterial growth in the receiving waters. Consequently, these aerobatic bacteria deplete oxygen levels within the rivers which endanger the lives of aquatic insects and fish.

Methods used to measure DO in the Laboratory

DO is measured in the laboratory using sensor method. The measurements are carried out using dissolved oxygen meters and sensors. These sensors are categorized into polar graphic, galvanic, and pulse polar graphic sensors. Galvanic DO sensors use the electrochemical principle that dissolves the absorption of oxygen cross a permeable membrane into the sensor. Polar graphic sensors require a constant potential difference applied across it. Besides, pulse polar graphic sensors have a sensor cap that is composed of a luminescent material that glows when the levels of oxygen vary.

Also, DO can be measured using colorimetric methods. These methods include indigo carmine method and rhodazine D method. They employ colorimetric reagents that fluctuates the pigmentation when reacted with water. The reagents are oxidized and the color change shows the levels of oxygen. The oxygen levels are determined using a spectrophotometer that produces results of high accuracy. The results are compared against a color wheel or a color block.

Change of DO solubility with Temperature, Pressure, and Salinity.

Pressure

The solubility of DO is directly proportional to the amount of pressure exerted on the water. Higher pressure levels leads to higher the levels the solubility of oxygen into water. Oxygen dissolves into water until it reaches saturation (gas tension). Saturation occurs when the pressure of oxygen is equal to the pressure of the water level.

Temperature

Higher temperatures of the water lead to lower the solubility of oxygen. Therefore, oxygen dissolves much better in cold water than in hot water.

Salinity

Higher levels of salinity decrease the solubility of oxygen in water. For instance, the solubility of oxygen sea water is 35% while its solubility in fresh water is 88%.

Differences between CBOD and NBOD

BCOD is a measure of oxygen dissolved consumed by aerobic microorganisms by oxidizing waste matter in water while CBOD involves the oxidation carbonaceous compounds to carbon dioxide and other end products. NBOD involves the breaking down of nitrogenous compounds into nitrates and nitrites which are unstable intermediate end products for DO.

The level of oxygen consumption in the BOD5 does not provide complete oxidation; therefore, bacteria have sufficient time to acclimate in the lag- phase (which is approximately10% mg/ L DO concentration) in the first day corresponding to 80%. After substantial oxidation, it increases to 25% mg/ L DO in the third day corresponding to 99%.  The results are expressed as the difference between the initial dissolved oxygen in the first day and final data collected on the fifth day of incubation.  Both CBOD and NBOD contribute to ultimate biochemical oxygen demand (UBOD). Oxidation during the CBOD process reduces organic matter to cellulose compounds. The rate of reaction constant k is determined experimentally and found to be 0.3- 0.71/d for degradable wastes and 0.1- 0.2 1/d  for relatively less degradable organic water (river water). On the contrary, the aerobic bacteria (nitrifies) that break down nitrogenous wastes are found on the surface. NBOD becomes recognizable after the fifth day since they grow slowly as compared to CBOD bacteria. The breakdown of nitrogen into ammonia therefore nitrification occurs between the first and third day of the BOD5. The stoichiometric value of oxygen is found to be 4.57.

References

Ajayi, Allan, Albert, Peter, Ajojesu, Tony, Bishop, Tabby, Olasehide, Gilbert, & Siyanbola,

Tabitha. Biochemical Oxygen Demand and Carbonaceous Oxygen Demand of the

Covenant University Sewage Oxidation Pond: Covenant Journal of Physical and Life

Sciences , vol. 4, no. 1, Jan. 2016, pp. 1- 9.

http://eprints.covenantuniversity.edu.ng/7488/1/BOD%20PAPER%20PUBLISHED.pdf

Penn, Michael, Pauer, James, Mihelcic, James. Biochemical Oxygen Demand: Environmental

And Ecological Chemistry, vol. 2, pp. 1- 8.

https://www.eolss.net/Sample-Chapters/C06/E6-13-04-03.pdf