Dead time 10 micro seconds

With source measurements

Beta 2807916

Gamma 203191

Coincident count 167891

External timer 6000089

Internal timer 600 s

Background measurements

Beta 2204

Gamma 3256

Coincident count 32

External timer 6000089

Internal timer 600 s.

BETA signal.

High= 2500 mV. Width= 17.5 micro seconds.

Gamma signal

High= 200 mV. Width= 75 micro seconds.