Name:

Course:

Professor:

Date:

Lighting systems part 1

| Letter | Terms |
| --- | --- |
| d | Luminous intensity |
| f | Luminous flux |
| a | Illumination |
| g | Efficacy or luminous efficacy |
| e | Glare |
| b | Luminaire |

- Illumination level – bright

Color – object

Glare – discomfort

Intensity – illuminated

Standard industry illumination values – characteristics

Lux levels – task

| Type | Direct | Indirect | Semi-direct | Semi-indirect | General diffuser |
| --- | --- | --- | --- | --- | --- |
| Description | E | D | A | B | C |
| Picture | 5 | 4 | 1 | 2 | 3 |

- 1- flame or explosive proof housing

2- increased Ex e safety

3- metallic holder

4- seal to prevent ingress of liquid, gas, or dust

- a). GLS (general lighting system): Operation - when an electric current is passed from the source through the bayonet caps or the Edison screw fittings to the tungsten filament, the filament glows white hot and becomes a source of light.

Efficacy – 15-35 lumens/watt

Factors affecting lifespan – more current needed to maintain the temperature of the filament, voltage rating of the lamp, heavy vibration, ventilation, variation of supply voltage, and vaporization of the filament.

b). Halogen: Construction – a tungsten wire wound in coils is placed inside a glass envelop, which is filled with a halogen gas and an inert gas. Leads of the tungsten wire are connected to bayonet caps or Edison screw fittings.

Color output – similar to sunlight.

Factors affecting lifespan – degradation of the quartz glass, temperature gradient from the filament to the glass, blackening of the inner walls of the glass.

- a). push and twist

b). 22mm

c). terminals

d). left

e). threaded

f). locating lugs

g). pin

| Lamp type | Voltage range | Auxiliary equipment | Installation requirements |
| --- | --- | --- | --- |
| Extra low voltage | 12V | Control equipment | May require installation of heat shield in certain circumstances. Auxiliary equipment may need to be installed above thermal insulation. Must be installed away from timber framing. |
| Low voltage | 0.6V – 11.5V | None | Must not be extended through a wall, they must be installed high enough to avoid short circuiting, must comply with the requirements of locations, the isolating power supply must not exceed 30V |

- a). electric arc

b). gas

c). halides

d). sports facilities

e). lighting

f). outdoor

g). discharge

h). vaporized

i).  factories

j). sodium

k). retail

l). high

m). electrode

n). mercury

- safety precautions for working on high voltage lighting

- check phase rotation prior to working on high voltage light fittings

- isolate high voltage lighting fittings prior to carrying out wok

- high voltages might be present when lamp is starting or restarting

- always use test equipment rated for high voltages the equipment operates

- a).

b). starter, conductor, terminals, arc, lamp, breaks, voltage, filaments, drops, limits.

c).

d). ignitor, pulses, main, starting, halide, blue, increases.

- Stationary, cannot, moving rapidly, not moving, safety, two lamps, different phases, capacitor, phase lag, amplifier, alternating current, direct current.

- Light, heat, multiple, desired, color, friction, failure, covered, flammable, savings.

- The correct operating voltage, has sufficient cooling/ spacing from flammable materials, the desired characteristics to match the task, complies with current legislation and standards.

- Temperature, brightness, 4.7, sign, recessed, see.

- CA-80, CA-135, IC, IC-F.