Name:

Course:

Professor:

Date:

Lighting systems 2

- a). neon

b). advantage – color options available

disadvantage – can cause eye damage

c). operational consideration- allow lamp to cool before handling

environmental consideration- ensure that the LED is approved for wet, damp, or dry locations before using the lamp outdoors in a fixture that is not rated ‘a weather protected fixture.

d). illuminance = E = i/d²

= 1000/12²

= 1000/144 =

E = 6.94 lx

E= I CosΘ/d²

E= (1000Cos30)/3.7²

E = 11.27 lx

- a). Fluorescent

b). advantage – high efficiency

disadvantage – expensive to purchase

c). operational consideration – operate in an efficiency of above 50Hz.

Environmental considerations – mix incandescent lighting with fluorescent lighting to reduce the overall strobe effect of the discharge light.

d). illuminance = E=i/d²

E= 1400/2.1²

E= 317.46 lx

E = iCosΘ/d²

E = (1400Cos60)/3²

E = -148.15 lx

- a). Surface mount incandescent

b). advantage – tidy appearance

disadvantage – degradation of ceiling structure

c). operational consideration – all auxiliary codes should be installed in accordance with it and the code.

Environmental consideration – should not be installed in a location where they are exposed to moisture.

d). E = 1425/2.1²

E = 323.13 lx

E = 1425Cos50/3²

E = 152.79 lx

- a). Mercury vapor

b). advantages – color rendition is not of importance

disadvantages – sensitive to voltage fluctuations

c). operational consideration – voltage should be maintained in a stable state

environmental consideration – should have an outer envelope for protection

d). E = 10600/7²

E = 216.33 lx

E = 10600Cos45/8.1²

E = 84.87 lx

- a). Mercury vapor

b). advantages – color rendition is not needed

disadvantages – if the supply is interrupted for a moment, the lamp will not start until the vapor pressure has fallen to a value that will allow the discharge to restrike.

c). operational consideration – voltage should be maintained in a stable state

environmental consideration – should have an outer envelope for protection

d). E = 10600/7²

E = 216.33 lx

E = 10600Cos45/8.1²

E = 84.87 lx

- a). surface mount incandescent

b). advantage – have soft lighting effects

disadvantage – cause degradation of the walls

c). operational consideration – heat produced needs to be dissipated to avoid degradation of wiring

environmental consideration – should not be installed in a moist area.

d). E = 1500/1.9²

E = 415.51 lx

E = 1500Cos20/1.4²

E = 312.31 lx

- a) recessed incandescent

b). advantage – have a tidy appearance

disadvantage – degradation of the ceiling

c). operational consideration – auxiliary equipment should be installed in accordance with it and the code.

Environmental considerations – should not be installed in moist areas.

d). E = 1700/1.8²

E = 524.69 lx

E = 1700Cos20/2.2²

E = 143.33 lx

- a). a). Mercury vapor

b). advantages – color rendition is not needed

disadvantages – if the supply is interrupted for a moment, the lamp will not start until the vapor pressure has fallen to a value that will allow the discharge to restrike.

c). operational consideration – voltage should be maintained in a stable state

environmental consideration – should have an outer envelope for protection

d). E = 90000/11.2²

E = 717.47 lx

E = 90000Cos22/14²

E = -459.17 lx

- a). neon

b). advantage – does not have to be heated to operate

disadvantage – requires high voltage to start

c). operational consideration – there should be a voltage gradient along the tube’s length

environmental consideration - there should be enclosures arranged to allow access of all live parts.

d). E = 700/1²

E = 700 lx

E = 700Cos10/1.2²

E = -407.88 lx