Question 1 4 pts 
What is the annual average potential for available solar energy (solar irradiation) for Minneapolis, Minnesota? 
Group of answer choices 

4.4 kWh/m2/day 

5.0 kWh/m2/day 

4.0 kWh/m2/day 

6.6 kWh/m2/day 
 
Flag this Question 
Question 2 4 pts 
What is the annual average potential for available solar energy (solar irradiation) for Las Vegas, Nevada? 
Group of answer choices 

4.0 kWh/m2/day 

4.4 kWh/m2/day 

5.0 kWh/m2/day 

6.6 kWh/m2/day 
 
Flag this Question 
Question 3 4 pts 
What is the annual average potential for available solar energy (solar irradiation) for Portland, Oregon? 
Group of answer choices 

5.0 kWh/m2/day 

4.4 kWh/m2/day 

6.6 kWh/m2/day 

4.0 kWh/m2/day 
 
Flag this Question 
Question 4 4 pts 
What is the annual average potential for available solar energy (solar irradiation) for San Antonio, Texas? 
Group of answer choices 

5.0 kWh/m2/day 

4.0 kWh/m2/day 

4.4 kWh/m2/day 

6.6 kWh/m2/day 
 
Flag this Question 
Question 5 4 pts 
How much energy (in KWh) would a 300 W solar panel collect in Minneapolis, Minnesota each day? 
Group of answer choices 

1.32 kWh 

1.98 kWh 

1.5 kWh 

1.2 kWh 
 
Flag this Question 
Question 6 4 pts 
How much energy (in KWh) would a 300 W solar panel collect in Las Vegas, Nevada each day? 
Group of answer choices 

1.32 kWh 

1.98 kWh 

1.2 kWh 

1.5 kWh 
 
Flag this Question 
Question 7 4 pts 
How much energy (in KWh) would a 300 W solar panel collect in Portland, Oregon each day? 
Group of answer choices 

1.32 kWh 

1.98 kWh 

1.2 kWh 

1.5 kWh 
 
Flag this Question 
Question 8 4 pts 
How much energy (in KWh) would a 300 W solar panel collect in San Antonio, Texas each day? 
Group of answer choices 

1.5 kWh 

1.2 kWh 

1.98 kWh 

1.32 kWh 
 
Flag this Question 
Question 9 4 pts 
What is the number of solar panels needed to provide at least 30 kWh of energy each day in Las Vegas, Nevada? 
Group of answer choices 

15 

20 

23 

25 
 
Flag this Question 
Question 10 4 pts 
What is the number of solar panels needed to provide at least 30 kWh of energy each day in Minneapolis, Minnesota? 
Group of answer choices 

15 

23 

25 

20 
 
Flag this Question 
Question 11 4 pts 
What is the number of solar panels needed to provide at least 30 kWh of energy each day in Portland, Oregon? 
Group of answer choices 

15 

25 

23 

20 
 
Flag this Question 
Question 12 4 pts 
What is the number of solar panels needed to provide at least 30 kWh of energy each day in San Antonio, Texas? 
Group of answer choices 

23 

20 

25 

15 
 
Flag this Question 
Question 13 4 pts 
What is the size of the PV solar system (in kW) that should be built in Portland, Oregon? 
Group of answer choices 

4.5 kW 

6.9 kW 

6 kW 

7.5 kW 
 
Flag this Question 
Question 14 4 pts 
What is the size of the PV solar system (in kW) that should be built in Minneapolis, Minnesota? 
Group of answer choices 

6.9 kW 

6 kW 

4.5 kW 

7.5 kW 
 
Flag this Question 
Question 15 4 pts 
What is the size of the PV solar system (in kW) that should be built in Las Vegas, Nevada? 
Group of answer choices 

6.9 kW 

4.5 kW 

6 kW 

7.5 kW 
 
Flag this Question 
Question 16 4 pts 
What is the size of the PV solar system (in kW) that should be built in San Antonio, Texas? 
Group of answer choices 

6 kW 

6.9 kW 

7.5 kW 

4.5 kW 
 
Flag this Question 
Question 17 4 pts 
What is the Actual Cost of the PV solar system to the homeowner in Las Vegas, Nevada after the government subsidy? 
Group of answer choices 

$9,450 

$15,750 

$14,490 

$12,600 
 
Flag this Question 
Question 18 4 pts 
What is the Actual Cost of the PV solar system to the homeowner in Minneapolis, Minnesota after the government subsidy? 
Group of answer choices 

$12,600 

$9,450 

$15,750 

$14,490 
 
Flag this Question 
Question 19 4 pts 
What is the Actual Cost of the PV solar system to the homeowner in Portland, Oregon after the government subsidy? 
Group of answer choices 

$12,600 

$9,450 

$14,490 

$15,750 
 
Flag this Question 
Question 20 4 pts 
What is the Actual Cost of the PV solar system to the homeowner in San Antonio, Texas after the government subsidy? 
Group of answer choices 

$15,750 

$9,450 

$14,490 

$12,600 
 
Flag this Question 
Question 21 4 pts 
What is the average Annual Electricity Bill for the homeowner in Las Vegas, Nevada? 
Group of answer choices 

$756 

$864 

$972 

$1,080 
 
Flag this Question 
Question 22 4 pts 
What is the minimum number of years of free electricity (while warrantied for 25 years) that the homeowner in Las Vegas, Nevada could expect due to their PV solar system? 
Group of answer choices 

-15 

11.3 

2.5 

-8 
 
Flag this Question 
Question 23 4 pts 
What is the amount of money that would saved (while warrantied for 25 years) by homeowner in Las Vegas by purchasing a PV solar system? 
Group of answer choices 

$0 

$2,700.00 

$29,937.60 

$10,983.60 
 
Flag this Question 
Question 24 4 pts 
Which two cities (not counting New York) are the best candidates for installing PV solar systems, based strictly on financial reasons? 
Group of answer choices 

Minneapolis, Minnesota and Portland, Oregon 

San Antonio, Texas and Portland, Oregon 

Minneapolis, Minnesota and Las Vegas, Nevada 

San Antonio, Texas and Las Vegas, Nevada 
 
Flag this Question 
Question 25 4 pts 
Which two cities (not counting New York) are the best candidates for installing PV solar systems, based strictly on the amount of sunlight reaching those areas? 
Group of answer choices 

San Antonio, Texas and Portland, Oregon 

Minneapolis, Minnesota and Las Vegas, Nevada 

San Antonio, Texas and Las Vegas, Nevada 

Minneapolis, Minnesota and Portland, Oregon 
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