Question 1 4 pts

What is the annual average potential for available solar energy (solar irradiation) for Minneapolis, Minnesota?

Group of answer choices

4.4 kWh/m2/day

5.0 kWh/m2/day

4.0 kWh/m2/day

6.6 kWh/m2/day

Flag this Question

Question 2 4 pts

What is the annual average potential for available solar energy (solar irradiation) for Las Vegas, Nevada?

Group of answer choices

4.0 kWh/m2/day

4.4 kWh/m2/day

5.0 kWh/m2/day

6.6 kWh/m2/day

Flag this Question

Question 3 4 pts

What is the annual average potential for available solar energy (solar irradiation) for Portland, Oregon?

Group of answer choices

5.0 kWh/m2/day

4.4 kWh/m2/day

6.6 kWh/m2/day

4.0 kWh/m2/day

Flag this Question

Question 4 4 pts

What is the annual average potential for available solar energy (solar irradiation) for San Antonio, Texas?

Group of answer choices

5.0 kWh/m2/day

4.0 kWh/m2/day

4.4 kWh/m2/day

6.6 kWh/m2/day

Flag this Question

Question 5 4 pts

How much energy (in KWh) would a 300 W solar panel collect in Minneapolis, Minnesota each day?

Group of answer choices

1.32 kWh

1.98 kWh

1.5 kWh

1.2 kWh

Flag this Question

Question 6 4 pts

How much energy (in KWh) would a 300 W solar panel collect in Las Vegas, Nevada each day?

Group of answer choices

1.32 kWh

1.98 kWh

1.2 kWh

1.5 kWh

Flag this Question

Question 7 4 pts

How much energy (in KWh) would a 300 W solar panel collect in Portland, Oregon each day?

Group of answer choices

1.32 kWh

1.98 kWh

1.2 kWh

1.5 kWh

Flag this Question

Question 8 4 pts

How much energy (in KWh) would a 300 W solar panel collect in San Antonio, Texas each day?

Group of answer choices

1.5 kWh

1.2 kWh

1.98 kWh

1.32 kWh

Flag this Question

Question 9 4 pts

What is the number of solar panels needed to provide at least 30 kWh of energy each day in Las Vegas, Nevada?

Group of answer choices

15

20

23

25

Flag this Question

Question 10 4 pts

What is the number of solar panels needed to provide at least 30 kWh of energy each day in Minneapolis, Minnesota?

Group of answer choices

15

23

25

20

Flag this Question

Question 11 4 pts

What is the number of solar panels needed to provide at least 30 kWh of energy each day in Portland, Oregon?

Group of answer choices

15

25

23

20

Flag this Question

Question 12 4 pts

What is the number of solar panels needed to provide at least 30 kWh of energy each day in San Antonio, Texas?

Group of answer choices

23

20

25

15

Flag this Question

Question 13 4 pts

What is the size of the PV solar system (in kW) that should be built in Portland, Oregon?

Group of answer choices

4.5 kW

6.9 kW

6 kW

7.5 kW

Flag this Question

Question 14 4 pts

What is the size of the PV solar system (in kW) that should be built in Minneapolis, Minnesota?

Group of answer choices

6.9 kW

6 kW

4.5 kW

7.5 kW

Flag this Question

Question 15 4 pts

What is the size of the PV solar system (in kW) that should be built in Las Vegas, Nevada?

Group of answer choices

6.9 kW

4.5 kW

6 kW

7.5 kW

Flag this Question

Question 16 4 pts

What is the size of the PV solar system (in kW) that should be built in San Antonio, Texas?

Group of answer choices

6 kW

6.9 kW

7.5 kW

4.5 kW

Flag this Question

Question 17 4 pts

What is the Actual Cost of the PV solar system to the homeowner in Las Vegas, Nevada after the government subsidy?

Group of answer choices

$9,450

$15,750

$14,490

$12,600

Flag this Question

Question 18 4 pts

What is the Actual Cost of the PV solar system to the homeowner in Minneapolis, Minnesota after the government subsidy?

Group of answer choices

$12,600

$9,450

$15,750

$14,490

Flag this Question

Question 19 4 pts

What is the Actual Cost of the PV solar system to the homeowner in Portland, Oregon after the government subsidy?

Group of answer choices

$12,600

$9,450

$14,490

$15,750

Flag this Question

Question 20 4 pts

What is the Actual Cost of the PV solar system to the homeowner in San Antonio, Texas after the government subsidy?

Group of answer choices

$15,750

$9,450

$14,490

$12,600

Flag this Question

Question 21 4 pts

What is the average Annual Electricity Bill for the homeowner in Las Vegas, Nevada?

Group of answer choices

$756

$864

$972

$1,080

Flag this Question

Question 22 4 pts

What is the minimum number of years of free electricity (while warrantied for 25 years) that the homeowner in Las Vegas, Nevada could expect due to their PV solar system?

Group of answer choices

-15

11.3

2.5

-8

Flag this Question

Question 23 4 pts

What is the amount of money that would saved (while warrantied for 25 years) by homeowner in Las Vegas by purchasing a PV solar system?

Group of answer choices

$0

$2,700.00

$29,937.60

$10,983.60

Flag this Question

Question 24 4 pts

Which two cities (not counting New York) are the best candidates for installing PV solar systems, based strictly on financial reasons?

Group of answer choices

Minneapolis, Minnesota and Portland, Oregon

San Antonio, Texas and Portland, Oregon

Minneapolis, Minnesota and Las Vegas, Nevada

San Antonio, Texas and Las Vegas, Nevada

Flag this Question

Question 25 4 pts

Which two cities (not counting New York) are the best candidates for installing PV solar systems, based strictly on the amount of sunlight reaching those areas?

Group of answer choices

San Antonio, Texas and Portland, Oregon

Minneapolis, Minnesota and Las Vegas, Nevada

San Antonio, Texas and Las Vegas, Nevada

Minneapolis, Minnesota and Portland, Oregon