## Slide 1: Questions on the Topic
When is PFT recommended?
A pulmonary function test (PFT is recommended when the following conditions are met;
If a patient shows symptoms of lung problems
If the patient is regularly exposed to a certain substance at home or in the workplace.
To determine how well the lungs are functioning before a surgery.
To monitor the course of chronic illness such as COPD (Ruppel & Enright, 2012).

## Slide 2: Preparation for PFT
What instructions are given to the patient before a PFT test?
The instructions given to the patient before the test are to ensure that the test is done successfully and that the results of the test are not influenced by something. The instructions include;
No heavy meal
No smoking four hours before
No bronchodilator medicine four hours before
Don’t wear tight clothing
The test takes around one and a half hours to complete
Arrive more than fifteen minutes before the scheduled test time.

## Slide 3: Preparation for PFT
Instruction given to the patient during the PFT test?
Take a deep breath and blow out the air as fast as possible.
Take a breath and breath out as much air as you can.
Take a deep breathe quickly and hold the air for around ten seconds and breath out as much air as possible.
Instructions given to the patient after the test?
The patient should take some rest.
The patient should take their medicine.
The patient should wait for the test results and the diagnosis by the doctor.

## Slide 4: BTPS
What BTPS means?
BTPS stands for body temperature (37°C), ambient pressure and gas saturated with water vapour.
Why is BTPS important when performing a PFT?
The BTPS correction is used to convert flow and volume measured at ambient conditions to the conditions within the lungs. The expiration flow is saturated with water vapour and almost at body temperature. A correction factor of 2% is used to correct the temperature difference (Enright, Lebowitz & Cockroft, 2012).
The correction factor is used to determine whether the lungs are at normal condition which is 12%

## Slide 5: Different PFT tests
What are the different tests and what does each test measure?
Spirometry- The test is used to measure the lung function. The tests measures the volume against time (Ciancio et al., 2009).
Lung Volume Tests- The test is used to measure the amount of oxygen the lungs can hold.
Lung diffusion capacity test- It is used to measure the amount of oxygen that gets into the blood when a person breaths in.
Arterial blood gas test- It is used to measure the level of gases such as oxygen in the blood.

## Slide 6: Performing an FVC
The procedure for ensuring performing the FVC maneuverer.
Ensure that the pneumotach is zero by clicking the zero flow button.
Click the FVC (the FVC data collection screen appears).
Place a nose clip on the patient and tell them to breath normally through the pneumotach (Levitzky, 2018).
Tell the patient to inspire fully and then to exhale as rapidly, forcefully and completely as possible.
Tell the patient to inspire fully as rapidly as possible.
Tell the patient to resume normal breathing.

## Slide 7: Reference
Ruppel, G. L., & Enright, P. L. (2012). Pulmonary function testing. Respiratory care, 57(1), 165-175.
Ciancio, N., Pavone, M., Torrisi, S. E., Vancheri, A., Sambataro, D., Palmucci, S., ... & Sambataro, G. (2019). Contribution of pulmonary function tests (PFTs) to the diagnosis and follow up of connective tissue diseases. Multidisciplinary respiratory medicine, 14(1), 1-11.
Enright, P. L., Lebowitz, M. D., & Cockroft, D. W. (2012). Physiologic measures: pulmonary function tests. American journal of respiratory and critical care medicine.
Levitzky, M. G. (2018). Pulmonary physiology (No. 1, pp. 1-viii). : McGraw-Hill Education,.