To: Majid Vafaeipour

FROM: Saad Alotaibi

SUBJECT: Characterizing the Transient Time Response of a Temperature Measurement System

Background and Objective

To examine the transient time reaction of a temperature estimation framework a PC with NI LabVIEW, NI myDAQ, and Pitsco myTemp by step-contributions (by immerging rapidly the thermistors into either a frosted shower or boiling hot water shower from the surrounding temperature. To align the thermistor temperature utilizing the reference temperature got with NI CompactDAQ, NI 9211 Thermocouple Differential Analog Input Module and a sort T thermocouple. Gauge the time consistent accepting that the thermistor temperature estimation is a first-arrange framework. Look at the deliberate time history of temperature with that of a perfect first-arrange framework. Research regardless of whether the sign and extent of stage information will observably affect the deliberate time constants

Apparatus and Procedure

Apparatus

- NI myDAQ: the white plastic unit, DMM cables, a screw driver

- Pitsco myTemp: a circuit board with screw terminal, 3 thermistors (black cables)

- C. A PC running

- NTC thermistors: supplied by DigiKey, and their series number is #317-1314-ND. The manufacturer's part number is CWF1B103H3380.

- NI CompactDAQ: cDAQ chassis, a power supplier, a screw driver, USB cable

- NI 9211 Thermocouple Differential Analog Input Module: I/O Module.

- Type T thermocouples: for 32 to 500 degrees F (1 meter long).

- Three cups with different water temperatures (ambient, cold and hot)

Procedure

Ensure that the three thermistor links are joined and screw fixed to the terminals T1-T3 of the myTemp board myTemp is associated with NI myDAQ unit's screw terminal NI myDAQ is associated by means of a USB link to the PC. Download the record myTemp ME2350.llb on the off chance that it has not been put on the desktop. Open the LLB record and select myTemp in LabVIEW. Grow the VI's front board to the width of the screen so the myTemp setup, thermometer pointers, and the diagram board are all unmistakable. The front board of myTemp changes the myDAQ gadget Dev1 by selecting myDAQ1. In myTemp change its Measurement Loop Time information sort DBL, information passage Run the myTemp and ensure that the Measurement Loop Time can in fact be balanced by 0.1 sec Ensure the three thermistors and thermocouple are packaged near one another and immerged into the water of the paper glass (at the encompassing temperature. Open Image J. Run the thermocouple Test Panels of NI 9211 and the thermistor myTemp in LabVIEW. Auto scale X and Y tomahawks of the chart on the front board of myTemp. After no less than one moment and the temperature readings turn out to be enduring, utilize Image J to record physically a picture of the front board perusing T1 of the thermocouple Test Panel and also the front board of myTemp. Put rapidly the thermistors/thermocouple package into the frosty water of the short stainless steel glass. Hold up no less than one moment and the temperature readings turn out to be enduring, utilize Image J to record physically a picture of the front board perusing T2 of the thermocouple Test Panel and also the front board of myTemp Now put the thermistors/thermocouple package rapidly into the boiling point water of the tall stainless steel container. After no less than one moment and the temperature readings turn out to be unfaltering, utilize Image J to record physically a picture of the front board perusing T3 of the thermocouple Test Panel and the front board of myTemp Place the thermistors/thermocouple package once more into cold water of the short stainless steel container. Hold up no less than one moment and the temperature readings turn out to be enduring, utilize Image J to record physically a picture of the front board perusing T4 of the thermocouple Test Panel and in addition the front board of myTemp Put the thermistors/thermocouple package again into the water of the paper glass. Hold up no less than one moment and the temperature readings turn out to be relentless, utilize Image J to record physically a picture of the front board perusing T5 of the thermocouple Test Panel and additionally the front board of myTemp.

Table 1 Static Calibration Temperature Measurements: Thermistor #

|  | T1 (°C) | T2 (°C) | T3 (°C) | T4 (°C) | T5 (°C) |
| --- | --- | --- | --- | --- | --- |
| Thermocouple | 23.3 | 8.83 | 87.4 | 8.25 | 22.9 |
| Thermistor | 21.7 | 6.76 | 86.4 | 5.44 | 21.21 |

Table 2 Default & Calibrated Steinhart-Hart Coefficients (1/K): Thermistor #

|  | ASH | BSH | CSH |
| --- | --- | --- | --- |
| Default Values | 7.3998E-4 | 2.7873E-4 | 9.26322E-8 |
| Calibrated Values | 5.2675E-4. | 3.2354E-4. | -7.4778E. |

Table 3 Dynamic Response Measurements of Four Step-Inputs: Thermistor #

|  | Step-Input 12 | Step-Input 23 | Step-Input 34 | Step-Input 45 |
| --- | --- | --- | --- | --- |
| Time t0 (sec) | 54.12 | 118.1 | 166.4 | 222.8 |
| Temperature Ts (°C) | 21.11 | 7.819 | 55.838 | 7.929 |
| Time ta (sec) | 53.9 | 118.2 | 166.1 | 223.5 |
| Temperature Ta (°C) | 22.368. | 13.7645. | 53.376. | 11.354. |
| Time tb (sec) | 55.43. | 122.4. | 170.5. | 225.4. |
| Temperature Tb (°C) | 14.434. | 37.54. | 26.765. | 17.758. |
| Time tc (sec) | 69.9. | 127.1. | 177.3. | 233.4. |
| Temperature Tc (°C) | 8.989. | 53.7647. | 11.65. | 22.657. |
| Time te (sec) | 115.34. | 143.4. | 226.3. | 287.3. |
| Temperature Te (°C) | 7.11. | 56.338. | 8.238. | 25.05. |

Table 4 Estimated Time Constants versus Step-Inputs: Thermistor #

|  | Step-Input 12 | Step-Input 23 | Step-Input 34 | Step-Input 45 |
| --- | --- | --- | --- | --- |
| Time constant sbe (sec) | 4.73. | 3.483. | 2.376. | 4.7634. |
| Temperature difference Te –Ts (°C) | -10.6438. | 44.164. | -43.977. | 10.588. |
| Time constant abc (sec) | 3.450. | 3.3330. | 3.4453. | 3.745. |
| Temperature difference T -T0 (°C) | -11.3352. | 45.3043. | -54.674. | 11.3323. |
| Time constant sbc (sec) | 2.6550. | 2.6540. | 3.3284. | 2.6562. |
| Temperature difference T -T0 (°C) | -13.7730. | 45.1541. | -45.5386. | 12.8865. |