A standardized CSA A440 water penetration test was carried out while testing the assembly’s water permeability strength. A cyclist test and a static test are two key components which play a vital role in this test with the aim of evaluating the performance of the window in different platforms. A constant stream of water is sprayed by the use of the static test spray at a given pressure for a certain period of time.  For the cyclic test, the performance barely takes some short time intervals.

Apparatus

The following are some of the primary instruments required to conduct this experiment.

- Spray Rack

- Polyethylene sheet and tape

- Manometer

- Wall/Window assembly