Task 3
The following are the steps that you should follow when cleaning and sterilizing instruments using an autoclave, equipment and implantable items after use.
Instructions/steps/procedure 
· wear proper personal protective equipment before handling instruments that are contaminated 
· using warm water and a scrub, remove any body fluid, tissue and blood
· Using an approved detergent solution submerge instruments following the directions provided by the manufacturer 
· In case you are using hinged surgical like scissors please place them in instrument milk for 45 seconds to lubricate and protect them from staining, rusting or corrosion.
· Ensure you air dry the instruments, you can as well use clean towel to try the instruments 
· ensure you inspect the instrument and be sure are in good condition and working properly 
· wrap the instruments in sets that are labeled for autoclaving 
· Any plastic pouches that can be disposed will be used for steam processing 
· Prior to loading the autoclave, on the gummed end of the pouch or on the autoclave tape of the paper wrapped instruments, the staff member writes the date of autoclaving.
· Autoclave per manufacturer's specifications and record load on autoclave log.
· If the steam indicator tape, package markings or interior steam indicator strip do not change color after processing the instruments are repackaged and reprocessed.
Instruments are sterile for one year from date of processing. In instances when packaging becomes compromised, instruments are reprocessed.
· Use steam sterilization method in this case.  For the contaminated instruments, you just need to expose them to a saturated steam. Here you can boil water to a temperature of around 100 °C then put the contaminated instruments there. All micro-organisms including and germs in the instrument will be killed by this temperature.
· Do not start with the uncontaminated instruments or areas, But ensure, you’re working from one direction to the other, that is; usually work from dirty to clean zone
· The packaging requirements are enough though there is a need to ensure safety of items. Some of the instruments are safely packed and this is helpful in preventing any damage. 
· The recycling details as I have seen in your records are well specified and in accordance with current Australian standards. Finally, a lot need to be done in loading and unloading of autoclave. 
· Always wear lab coat, eye protection and closed shoes when loading autoclave. Further, close and lock door, chose best cycle and set appropriate time and temperature when unloading autoclave.
· Any sterilized item is handled and stored properly as a way of preventing contamination from any source and maintains packs integrity. 
· Any item damaged during the procedure is appropriately disposed to reduce the risks if it causing further damages. Usually, dispose damaged items in appropriate and labeled disposal containers   
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